Checklists and Frequencies for Maintenance Operations

Based on a PAHO Model

Three tables are presented covering:

- The building interior

- The building exterior

- The compound

Note:

- For frequency the maximum period is given

- For operator the person named is the one responsible for ensuring that the operation is carried out.

Building Interior

| SPACES: | Frequency | Operator |
| --- | --- | --- |
| Washrooms and Toilets |  |  |
| Inspect and report deficiencies | Daily | General Cleaners / Maintenance Staff |
| Wash floors, toilet bowls, urinals, wash basins with disinfectant and deodorant | Daily | General Cleaners |
| Order replacements | Immediately | Hospital Superintendent / Hospital Administrator |
| Replace broken elements | Quarterly | Maintenance Staff |
| Repair | Immediately | Hospital Superintendent |
| Paint | Annually | Maintenance Staff |
| Corridors and Wards |  |  |
| Inspect and report deficiencies | Daily | General Cleaners |
| Wash walls | Weekly | General Cleaners |
| Ceilings, Interior Roofs, Canopies |  |  |
| Inspect and report deficiencies | Annually | Maintenance Staff |
| Repaint | Every 4 years | Maintenance Staff |
| Labs and other technical areas |  |  |
| Clean all counters, floors and walls | Daily | Maintenance Staff |
| Plumbing |  |  |
| Inspect and report deficiencies | Daily | Maintenance Staff |
| Repair and Replace defective pieces | Immediately | Hospital Superintendent |
| Internal Communications System |  |  |
| Inspect all internal communications to ensure that the system is functioning properly and report deficiencies | Quarterly | Hospital Superintendent |
| Electricity |  |  |
| Inspect electrical wiring on a room by room basis and report deficiencies | Quarterly | Maintenance Staff |
| Furniture |  |  |
| Repair or replace broken elements | Annually | Maintenance Staff |

Building Exterior

| SPACES/Materials | Frequency | Operator |
| --- | --- | --- |
| Wood |  |  |
| Inspect panels, louvers, railings and report deficiencies | Annually | Maintenance Staff |
| Replace all broken and wood louvers | Daily | Hospital Superintendent |
| Replace other damaged elements | Quarterly | Hospital Superintendent |
| Clean and paint marked surfaces | Annually | Maintenance Staff |
| Windows |  |  |
| Inspect and report deficiencies | Daily | Maintenance Staff |
| Remove broken glass louvers or panes | Immediately | Maintenance Staff |
| Order replacements for broken glass and other elements | Immediately | Hospital Superintendent |
| Replace other elements | Quarterly | Maintenance Staff |
| Grease and oil louver operators or handles | Annually | Maintenance Staff |
| Replace broken wire mesh grills | Quarterly | Hospital Superintendent / Maintenance Staff |
| Wash windows | Quarterly | General Cleaners / Maintenance Staff |
| Doors, Frames and Partitions |  |  |
| Inspect and report deficiencies | Quarterly | Maintenance Staff |
| Oil hinges etc. | Annually | Maintenance Staff |
| Replace defective and broken hardware | Immediately | Hospital Superintendent |
| Repair or replace defective doors and/or frames | Immediately | Hospital Superintendent |
| Stairs and Balconies |  |  |
| Sweep stairs and balconies | Daily | General Cleaners |
| Wash stairs, walls and rails | Quarterly | General Cleaners |
| Clean metal work or rust and coat with primer and paint | Annually | Maintenance Staff |
| Sand and paint wood railings or posts | Every 2 years | Maintenance Staff |
| Roofs and Gutters |  |  |
| Inspect and report deficiencies | Annually | Maintenance Staff |
| Repair and replace roof sheets and gutters as required | Weekly | Hospital Superintendent |
| Metal Panels |  |  |
| Inspect and report deficiencies | Annually | Maintenance Staff |
| Wash and remove graffiti | Annually | Maintenance Staff |
| Clean rust and paint | Every 2 years | Maintenance Staff |

Compound

| SPACES/Materials | Frequency | Operator |
| --- | --- | --- |
| Gardening |  |  |
| Clean flower beds | Weekly | Gardener |
| Water and fertilise plants | Daily | Gardener |
| Remake plant beds | Quarterly | Gardener |
| Prune plants, trim hedges | Monthly | Gardener |
| Grass playing fields | Annually | Gardener |
| Gut grass | Weekly | Gardener |
| Fence |  |  |
| Inspect and report deficiencies | Quarterly | Maintenance Staff |
| Repair | Quarterly | Maintenance Staff |
| Paint | Every 2 years | Maintenance Staff |
| Walkways and Courtyards |  |  |
| Sweep | Daily | General Cleaners |
| Clear litter and rubbish | Daily | General Cleaners |
| Drainage Ditches |  |  |
| Clean routinely | Quarterly | General Cleaners |
| Clear blockages | Immediately | Maintenance Staff |
| Repair damage drains | Annually | Maintenance Staff |
| Water Mains |  |  |
| Inspect and report deficiencies | Quarterly | Maintenance Staff |
| Maintain earth cover | Quarterly | Maintenance Staff |
| Repair breaches and leaks | Immediately | Hospital Superintendent |
| Septic Tank |  |  |
| Inspect and report deficiencies | Annually | Maintenance Staff |
| Clean and flush out | Every 4 years | Maintenance Staff |
| Repair | Immediately | Hospital Superintendent |
| Erosion near structures |  |  |
| Inspect and report deficiencies after heavy rain fall | Quarterly and as required | Maintenance Staff |
| Return soil, grass, re-direct water source | Quarterly and as required | Maintenance Staff |
| Repair eroded area | Immediately | Hospital Superintendent |
| Rubbish Bins |  |  |
| Empty bins and burn or carry away rubbish | Daily | General Cleaners |
| Inspect and replace bins if necessary | Annually | Maintenance Staff |